## ALL_METHODS
Target Force (N) | Cycles Analysed Raw | Cycles Used After Outlier Rejection | Cycles Rejected | Mean Steady Force (N) | Steady Absolute Error (N) | Steady Percent Error (%) | Steady Repeatability STD (N) | Steady Repeatability CV (%) | Steady RMS Across Cycles (N) | Mean In-Cycle STD (N) | Mean In-Cycle RMS Error (N) | Mean In-Cycle Peak-to-Peak (N) | Drift Slope (N/cycle) | Mean Steady Duration (s) | Steady Duration STD (s) | Mean Steady Points | Mean In-Cycle RMS About Mean (N) | Mean In-Cycle Mean Abs Deviation (N) | Method | Abs Steady Percent Error (%) | Steady Repeatability CV (%) Normalised | Mean In-Cycle STD (N) Normalised | Abs Steady Percent Error (%) Normalised | Simple Control Score
5 | 50 | 50 | 0 | 5.0823 | 0.082289 | 1.6458 | 0.085465 | 1.6816 | 0.11802 | 0.16995 | 0.2077 | 0.4062 | 0.0027868 | 0.42216 | 0.10386 | 4.82 | 0.15185 | 0.12143 | 0 | 1.6458 | 0.538 | 0.045308 | 0.43982 | 0.41992
10 | 50 | 46 | 4 | 10.3091 | 0.30912 | 3.0912 | 0.16134 | 1.565 | 0.34788 | 0.31667 | 0.49581 | 0.73696 | -0.0016247 | 0.4218 | 0.13105 | 4.5 | 0.28109 | 0.23363 | 0 | 3.0912 | 0.47178 | 0.18324 | 0.83426 | 0.59162
15 | 50 | 50 | 0 | 15.4949 | 0.4949 | 3.2994 | 0.30164 | 1.9467 | 0.57801 | 0.52756 | 0.80657 | 1.1624 | 0.0074384 | 0.367 | 0.10676 | 4.18 | 0.46174 | 0.39414 | 0 | 3.2994 | 0.68856 | 0.38149 | 0.89108 | 0.73363
20 | 50 | 50 | 0 | 20.6272 | 0.6272 | 3.136 | 0.35205 | 1.7067 | 0.71752 | 0.72916 | 1.0502 | 1.5034 | 0.0057414 | 0.295 | 0.081541 | 3.7 | 0.6256 | 0.54274 | 0 | 3.136 | 0.55226 | 0.57103 | 0.8465 | 0.68748
25 | 50 | 50 | 0 | 25.6265 | 0.62654 | 2.5062 | 0.5551 | 2.1661 | 0.83338 | 0.80895 | 1.2117 | 1.5446 | 0.0093341 | 0.24552 | 0.079858 | 3.24 | 0.67295 | 0.60633 | 0 | 2.5062 | 0.81317 | 0.64603 | 0.67461 | 0.72575
30 | 50 | 49 | 1 | 30.762 | 0.76197 | 2.5399 | 0.76753 | 2.495 | 1.076 | 0.85161 | 1.424 | 1.4349 | 0.017145 | 0.18267 | 0.077894 | 2.6327 | 0.65859 | 0.62072 | 0 | 2.5399 | 1 | 0.68614 | 0.68382 | 0.81064
5 | 50 | 50 | 0 | 4.9846 | -0.015388 | -0.30776 | 0.061212 | 1.228 | 0.06252 | 0.1682 | 0.16649 | 0.4824 | -0.00099375 | 0.69122 | 0.095321 | 7.38 | 0.15671 | 0.12509 | 10 | 0.30776 | 0.28037 | 0.043664 | 0.074672 | 0.1523
10 | 50 | 50 | 0 | 10.051 | 0.050995 | 0.50995 | 0.10073 | 1.0022 | 0.112 | 0.35937 | 0.35579 | 1.0334 | -0.0025975 | 0.67156 | 0.086553 | 7.16 | 0.33358 | 0.25914 | 10 | 0.50995 | 0.15212 | 0.22338 | 0.12985 | 0.15279
15 | 50 | 50 | 0 | 15.1627 | 0.16275 | 1.085 | 0.17017 | 1.1223 | 0.23424 | 0.5945 | 0.61616 | 1.6498 | -0.00075583 | 0.60524 | 0.078694 | 6.6 | 0.54805 | 0.4152 | 10 | 1.085 | 0.22034 | 0.44443 | 0.28678 | 0.28385
20 | 50 | 49 | 1 | 20.3151 | 0.3151 | 1.5755 | 0.20846 | 1.0261 | 0.37664 | 0.56784 | 0.6846 | 1.4255 | 0.00073776 | 0.48214 | 0.084549 | 5.3673 | 0.51316 | 0.40303 | 10 | 1.5755 | 0.16572 | 0.41936 | 0.42064 | 0.31848
25 | 50 | 49 | 1 | 25.4612 | 0.46124 | 1.8449 | 0.4321 | 1.6971 | 0.629 | 0.74528 | 1.0176 | 1.6278 | -0.002736 | 0.35845 | 0.11143 | 4.2245 | 0.65171 | 0.55894 | 10 | 1.8449 | 0.54679 | 0.58617 | 0.49417 | 0.52902
30 | 50 | 49 | 1 | 30.8717 | 0.87167 | 2.9056 | 0.70952 | 2.2983 | 1.1194 | 1.0457 | 1.6435 | 2.0782 | 0.015233 | 0.26494 | 0.11514 | 3.3878 | 0.87905 | 0.77502 | 10 | 2.9056 | 0.88825 | 0.86863 | 0.78361 | 0.83822
5 | 50 | 50 | 0 | 5.105 | 0.10499 | 2.0999 | 0.067539 | 1.323 | 0.12447 | 0.18507 | 0.22817 | 0.5122 | 0.00011957 | 0.71494 | 0.10067 | 7.62 | 0.17304 | 0.1335 | offset 1 | 2.0999 | 0.33433 | 0.059523 | 0.56373 | 0.39634
10 | 50 | 50 | 0 | 10.1409 | 0.14093 | 1.4093 | 0.094943 | 0.93624 | 0.1694 | 0.34913 | 0.38264 | 1.0026 | -0.0019971 | 0.66378 | 0.074346 | 7.12 | 0.32431 | 0.2416 | offset 1 | 1.4093 | 0.11466 | 0.21375 | 0.37529 | 0.2468
15 | 50 | 50 | 0 | 15.0221 | 0.022145 | 0.14763 | 0.14416 | 0.95966 | 0.14442 | 0.41932 | 0.4202 | 1.164 | 0.00039268 | 0.59658 | 0.070201 | 6.48 | 0.38605 | 0.28977 | offset 1 | 0.14763 | 0.12796 | 0.27975 | 0.030974 | 0.10708
20 | 50 | 50 | 0 | 20.0081 | 0.0080814 | 0.040407 | 0.22062 | 1.1026 | 0.21855 | 0.45452 | 0.46484 | 1.1282 | 0.0005689 | 0.47556 | 0.08064 | 5.38 | 0.41069 | 0.32984 | offset 1 | 0.040407 | 0.20917 | 0.31283 | 0.0017129 | 0.13136
25 | 49 | 45 | 4 | 25.2236 | 0.22361 | 0.89446 | 0.27561 | 1.0927 | 0.35253 | 0.40425 | 0.54266 | 0.85378 | 0.0036722 | 0.34511 | 0.086518 | 4.1778 | 0.35059 | 0.30687 | offset 1 | 0.89446 | 0.2035 | 0.26557 | 0.23478 | 0.22689
30 | 50 | 44 | 6 | 30.0102 | 0.010239 | 0.034131 | 0.52489 | 1.749 | 0.51899 | 1.0447 | 1.0595 | 2.022 | -0.0014733 | 0.30327 | 0.14189 | 3.6818 | 0.87151 | 0.78429 | offset 1 | 0.034131 | 0.57629 | 0.86764 | 0 | 0.36066
5 | 50 | 49 | 1 | 5.0468 | 0.046768 | 0.93535 | 0.045424 | 0.90006 | 0.064872 | 0.12176 | 0.13772 | 0.37673 | 0.0010061 | 0.74778 | 0.057963 | 12.3265 | 0.11683 | 0.088126 | offset 2 | 0.93535 | 0.094106 | 0 | 0.24594 | 0.14832
10 | 50 | 49 | 1 | 10.0827 | 0.082693 | 0.82693 | 0.074044 | 0.73437 | 0.11049 | 0.33279 | 0.34513 | 1.0557 | 0.00057184 | 0.7499 | 0.053751 | 12.449 | 0.31908 | 0.23243 | offset 2 | 0.82693 | 0 | 0.19839 | 0.21636 | 0.12712
15 | 50 | 49 | 1 | 14.7754 | -0.22456 | -1.497 | 0.12589 | 0.85202 | 0.25681 | 0.3434 | 0.41002 | 1.0769 | -0.0050952 | 0.6339 | 0.069653 | 10.7755 | 0.32715 | 0.2282 | offset 2 | 1.497 | 0.066823 | 0.20837 | 0.39923 | 0.23764
20 | 50 | 50 | 0 | 19.9065 | -0.093527 | -0.46764 | 0.1791 | 0.89971 | 0.20046 | 0.52061 | 0.52458 | 1.5206 | -0.00061684 | 0.52312 | 0.063893 | 8.88 | 0.49033 | 0.35393 | offset 2 | 0.46764 | 0.09391 | 0.37497 | 0.1183 | 0.14705
25 | 50 | 50 | 0 | 25.0488 | 0.048794 | 0.19518 | 0.30485 | 1.217 | 0.3057 | 1.0602 | 1.0775 | 2.7782 | -7.3009e-05 | 0.41408 | 0.070143 | 7.3 | 0.98131 | 0.75157 | offset 2 | 0.19518 | 0.27413 | 0.88219 | 0.043949 | 0.26176
30 | 50 | 50 | 0 | 29.8828 | -0.11721 | -0.3907 | 0.55966 | 1.8728 | 0.5663 | 1.1855 | 1.2376 | 2.6924 | 0.0014538 | 0.30562 | 0.096391 | 5.52 | 1.0704 | 0.91905 | offset 2 | 0.3907 | 0.64661 | 1 | 0.097307 | 0.45243
5 | 50 | 50 | 0 | 5.1849 | 0.18492 | 3.6985 | 0.050703 | 0.97788 | 0.19162 | 0.19863 | 0.28125 | 0.5946 | -0.00086609 | 0.78686 | 0.074328 | 13 | 0.19096 | 0.15202 | split offset 2 | 3.6985 | 0.13831 | 0.072271 | 1 | 0.51616
10 | 50 | 50 | 0 | 10.2885 | 0.28853 | 2.8853 | 0.10677 | 1.0378 | 0.30728 | 0.39638 | 0.50639 | 1.3094 | 0.0039847 | 0.77028 | 0.053176 | 12.92 | 0.38085 | 0.27485 | split offset 2 | 2.8853 | 0.17231 | 0.25818 | 0.77807 | 0.45778
15 | 50 | 50 | 0 | 15.0448 | 0.0448 | 0.29867 | 0.13691 | 0.91 | 0.14274 | 0.41312 | 0.43176 | 1.2672 | -0.0028086 | 0.64872 | 0.090433 | 10.92 | 0.39412 | 0.28682 | split offset 2 | 0.29867 | 0.099753 | 0.27391 | 0.072191 | 0.11347
20 | 50 | 50 | 0 | 19.9709 | -0.029075 | -0.14538 | 0.21389 | 1.071 | 0.21372 | 0.6454 | 0.64937 | 1.9194 | -0.0044698 | 0.53968 | 0.073314 | 9.08 | 0.60895 | 0.42914 | split offset 2 | 0.14538 | 0.19119 | 0.49228 | 0.030359 | 0.16398
25 | 50 | 50 | 0 | 24.7912 | -0.20884 | -0.83534 | 0.30722 | 1.2392 | 0.36893 | 0.89533 | 0.90069 | 2.3416 | 0.00042357 | 0.405 | 0.09192 | 7.06 | 0.82991 | 0.63906 | split offset 2 | 0.83534 | 0.28674 | 0.72725 | 0.21865 | 0.32218
30 | 50 | 50 | 0 | 29.3182 | -0.68183 | -2.2728 | 0.39924 | 1.3617 | 0.78809 | 1.1061 | 1.2192 | 2.3834 | 0.0021581 | 0.30526 | 0.095927 | 5.52 | 0.99397 | 0.87826 | split offset 2 | 2.2728 | 0.35632 | 0.92539 | 0.61092 | 0.55625

## METHOD_RANKING
Method | Simple Control Score | Steady Repeatability CV (%) | Mean In-Cycle STD (N) | Abs Steady Percent Error (%) | Steady Repeatability CV (%) Normalised | Mean In-Cycle STD (N) Normalised | Abs Steady Percent Error (%) Normalised
0 | 0.66151 | 1.9269 | 0.56732 | 2.7031 | 0.6773 | 0.41887 | 0.72835
10 | 0.37911 | 1.3957 | 0.58015 | 1.3715 | 0.3756 | 0.43094 | 0.36495
offset 1 | 0.24486 | 1.1939 | 0.47616 | 0.77097 | 0.26098 | 0.33318 | 0.20108
offset 2 | 0.22905 | 1.0793 | 0.59403 | 0.71881 | 0.19593 | 0.44399 | 0.18685
split offset 2 | 0.35497 | 1.0996 | 0.60916 | 1.6893 | 0.20744 | 0.45821 | 0.4517