## SUMMARY
File_x | Load Resistance (Ohm) | Load Resistance Label | Mean voltage Peak | STD voltage Peak | Mean voltage RMS | STD voltage RMS | voltage Cycles Analysed | File_y | Mean current Peak | STD current Peak | Mean current RMS | STD current RMS | current Cycles Analysed | Associated Peak Power (W) | Associated RMS Power (W) | Voltage-Derived Peak Power V²/R (W) | Voltage-Derived RMS Power V²/R (W) | Impedance Matched Load?
PDMS_Sample_2_nylon_contact_VOLTAGE_Short Circuit_10N_2026-05-31_23-26-05.csv | 0 | SC | 5.1649e-06 | 1.0501e-06 | 2.8108e-06 | 5.1668e-07 | 200 | PDMS_2_nylon_contact_CURRENT_Short Circuit_10N_2026-06-02_22-37-06.csv | 1.5789e-08 | 8.4675e-09 | 7.4955e-09 | 3.6114e-09 | 200 | 8.1551e-14 | 2.1068e-14 |  |  | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_10k_10N_2026-05-31_23-33-33.csv | 10000 | 10k | 0.00014577 | 9.1145e-05 | 7.6148e-05 | 4.201e-05 | 200 | PDMS_2_nylon_contact_CURRENT_10k_10N_2026-06-02_22-44-57.csv | 1.5691e-08 | 8.2319e-09 | 7.4611e-09 | 3.5274e-09 | 200 | 2.2873e-12 | 5.6815e-13 | 2.1249e-12 | 5.7985e-13 | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_100k_10N_2026-05-31_23-40-58.csv | 100000 | 100k | 0.0014486 | 0.0008826 | 0.00076457 | 0.00040771 | 200 | PDMS_2_nylon_contact_CURRENT_100k_10N_2026-06-02_22-52-49.csv | 1.6507e-08 | 9.2026e-09 | 7.8747e-09 | 4.0693e-09 | 200 | 2.3911e-11 | 6.0207e-12 | 2.0983e-11 | 5.8456e-12 | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_549k_10N_2026-05-31_23-48-38.csv | 549000 | 549k | 0.0081071 | 0.0048189 | 0.0042581 | 0.002204 | 200 | PDMS_2_nylon_contact_CURRENT_549k_10N_2026-06-02_23-00-21.csv | 1.5962e-08 | 8.8793e-09 | 7.6691e-09 | 3.9536e-09 | 200 | 1.294e-10 | 3.2656e-11 | 1.1972e-10 | 3.3026e-11 | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_1M_10N_2026-05-31_23-56-13.csv | 1000000 | 1M | 0.015492 | 0.0090859 | 0.0080291 | 0.0041022 | 200 | PDMS_2_nylon_contact_CURRENT_1M_10N_2026-06-02_23-07-45.csv | 1.6837e-08 | 8.9699e-09 | 8.012e-09 | 3.9717e-09 | 200 | 2.6085e-10 | 6.4329e-11 | 2.4001e-10 | 6.4467e-11 | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_5.1M_10N_2026-06-01_00-03-53.csv | 5100000 | 5.1M | 0.090675 | 0.051162 | 0.046579 | 0.023562 | 199 | PDMS_2_nylon_contact_CURRENT_5.1M_10N_2026-06-02_23-15-17.csv | 1.6391e-08 | 8.9302e-09 | 7.757e-09 | 3.9031e-09 | 200 | 1.4862e-09 | 3.6131e-10 | 1.6121e-09 | 4.2541e-10 | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_10M_10N_2026-06-01_00-11-29.csv | 10000000 | 10M | 0.15616 | 0.085407 | 0.080918 | 0.040181 | 200 | PDMS_2_nylon_contact_CURRENT_10M_10N_2026-06-02_23-22-51.csv | 1.7182e-08 | 8.8093e-09 | 8.0965e-09 | 3.8727e-09 | 200 | 2.6831e-09 | 6.5515e-10 | 2.4387e-09 | 6.5478e-10 | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_50M_10N_2026-06-01_00-19-02.csv | 50000000 | 50M | 0.77996 | 0.33763 | 0.41136 | 0.15943 | 200 | PDMS_2_nylon_contact_CURRENT_50M_10N_2026-06-02_23-30-39.csv | 1.7572e-08 | 6.5971e-09 | 8.2558e-09 | 2.8644e-09 | 200 | 1.3705e-08 | 3.3961e-09 | 1.2167e-08 | 3.3843e-09 | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_100M_10N_2026-06-01_00-26-58.csv | 100000000 | 100M | 1.3433 | 0.37763 | 0.71855 | 0.18303 | 200 | PDMS_2_nylon_contact_CURRENT_100M_10N_2026-06-02_23-38-14.csv | 1.6209e-08 | 4.4257e-09 | 7.6504e-09 | 1.8612e-09 | 200 | 2.1774e-08 | 5.4973e-09 | 1.8044e-08 | 5.1632e-09 | FALSE
PDMS_Sample_2_nylon_contact_VOLTAGE_1G_10N_2026-06-01_00-34-35.csv | 1000000000 | 1G | 4.7332 | 0.5 | 2.9758 | 0.2817 | 200 | PDMS_2_nylon_contact_CURRENT_1G_10N_2026-06-02_23-48-42.csv | 7.4566e-09 | 1.5616e-09 | 3.9991e-09 | 7.2858e-10 | 200 | 3.5294e-08 | 1.19e-08 | 2.2403e-08 | 8.8551e-09 | TRUE
PDMS_Sample_2_nylon_contact_VOLTAGE_Open Circuit_10N_2026-06-01_00-42-16.csv | inf | OC | 4.3581 | 0.46169 | 2.7468 | 0.26676 | 200 | PDMS_2_nylon_contact_CURRENT_Open Circuit_10N_2026-06-02_23-56-09.csv | 7.4435e-09 | 1.5342e-09 | 4.0038e-09 | 7.2388e-10 | 200 | 3.2439e-08 | 1.0998e-08 |  |  | FALSE